## Form 100-277(a) Rev. D
Date of test:
Incubator Information
Incubator Type: | Forced-Air |  | Thermometer ID: |  |  | Environment Temp/Hygrometer ID:
Incubator S/N: |  |  | Device S/N: |  |  | Device S/N:
Incubator Brand: |  |  | Thermo. Cal. Due Date: |  |  | Device Cal. Due Date:
Incubator Model: |  |  | Timer ID: |  |  | Lab Temperature (°C):
GEX Part No.: |  |  | Timer Brand/Model: |  |  | Lab Relative Humidity (%):
Timer Cal. Due Date:
Calibration Verification Test
Acceptance Criteria: Measured temperature must be ±0.5°C from the Displayed temperature | Set Point Temp. (°C) | Displayed Temp (°C) | Measured Temp (°C) | Acceptance Criteria (±) (°C) | Minimum Limit (°C) | Maximum Limit (°C) | Result Status
0.5
Performance Verification Tests
Acceptance Criteria: ±2.0˚C from the Set Point and all ≤62.0 ˚C | Empty Chamber Test |  |  |  | Loaded Chamber Test
| Position | Measured (°C) |  |  | Position | Measured (°C)
| 1 |  |  |  | 1
| 2 |  |  |  | 2
| 3 |  |  |  | 3
| 4 |  |  |  | 4
| 5 |  |  |  | 5
| 6 |  |  |  | 6
| 7 |  |  |  | 7
| 8 |  |  |  | 8
| 9 |  |  |  | 9
| 10 |  | Result Status |  | 10 |  | Result Status
| Minimum: |  |  |  | Minimum:
| Maximum: |  |  |  | Maximum:
Notes:
Performed By (Name):____________________________Date:__________________ |  |  |  | Reviewed By (Name):____________________________Date:________________
Signature: |  |  |  | Signature:

## Form 100-277(b) Rev. D
Date of test:
Incubator Information
Incubator Type: | Microincubator |  | Thermometer ID: |  |  | Environment Temp/Hygrometer ID:
Incubator S/N: |  |  | Device S/N: |  |  | Device S/N:
Incubator Brand: |  |  | Thermo. Cal. Due Date: |  |  | Device Cal. Due Date:
Incubator Model: |  |  | Timer ID: |  |  | Lab Temperature (°C):
GEX Part No.: | P4900 |  | Timer Brand/Model: |  |  | Lab Relative Humidity (%):
Timer Cal. Due Date:
Calibration Verification Test
Acceptance Criteria: Measured temperature must be ±0.2°C from the Displayed temperature. | Set Point Temp. (°C) | Displayed Temp (°C) | Measured Temp (°C) | Acceptance Criteria (±) (°C) | Minimum Limit (°C) | Maximum Limit (°C) | Result Status
0.2
Performance Verification Tests
Acceptance Criteria: ±2.0˚C from the Set Point and all ≤62.0 ˚C | Empty Heat Block Test |  |  |  | Loaded Heat Block Test
| Position | Measured (°C) |  |  | Position | Measured (°C)
| 1 |  |  |  | 1
| 2 |  |  |  | 2
| 3 |  |  |  | 3
| 4 |  |  |  | 4
| 5 |  |  |  | 5
| 6 |  |  |  | 6
| 7 |  |  |  | 7
| 8 |  |  |  | 8
| 9 |  |  |  | 9
| 10 |  |  |  | 10
| 11 |  |  |  | 11
| 12 |  |  |  | 12
| 13 |  |  |  | 13
| 14 |  |  |  | 14
| 15 |  |  |  | 15
| 16 |  |  |  | 16
| 17 |  |  |  | 17
| 18 |  | Result Status |  | 18 |  | Result Status
| Minimum: |  |  |  | Minimum:
| Maximum: |  |  |  | Maximum:
Notes:
Performed By (Name):____________________________Date:__________________ |  |  |  | Reviewed By (Name):____________________________Date:_______________
Signature: |  |  |  | Signature: