## Form 100-272 Rev. C
#VALUE! |  |  | Measurement Number | Low Abs. | Med Abs. | High Abs.
|  |  |  | Irradiated Abs | Irradiated Abs | Irradiated Abs
Instrument S/N: |  | 1 | 1
Instrument Model: |  | 2 | 2
Date Performed: |  | 3 | 3
Temperature (°C): |  | 4 | 4
Relative Humidity (%): |  | 5 | 5
Dosimeter Type: |  | 6 | 6
Wavelength Setting (nm): |  | 7 | 7
|  | 8 | 8
Specification: | Maximum C.V.% | 9 | 9
| 2% | 10 | 10
|  | 11 | 11
Comments: |  | 12 | 12
|  | 13 | 13
|  | 14 | 14
|  | 15 | 15
|  | 16 | 16
|  | 17 | 17
|  | 18 | 18
|  | 19 | 19
|  | 20 | 20
|  | 21 | 21
|  | 22 | 22
|  | 23 | 23
|  | 24 | 24
|  | 25 | 25
|  | 26 | 26
|  | 27 | 27
|  | 28 | 28
|  | 29 | 29
|  | 30 | 30
|  |  | Average: | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Standard Dev.: | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | C.V.%: | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Test Result: | FAIL | FAIL | FAIL
Performed By:___________________________________Date:__________________ |  |  |  |  | Reviewed By:_____________________________ |  | Date:____________________
| ENTER NAME - Title |  |  |  |  | ENTER NAME -Title
ONLY enter data into all blue colored cells in this sheet to successfully calculate the results.

## 100-272 PMMA Rev. C
#VALUE!
Information about this form:
1 | ONLY enter data into all blue colored cells in this sheet to successfully calculate the results.
| Equipment and Measurement Info |  |  |  | PMMA Sample Reading Repeatability Tests using DoseControl
|  | Test Method: | 100-273 |  | Sample: | Low |  |  | Medium |  |  | High
|  | Test Date: |  |  | Sequential Meas. | Abs. | thickness (mm) | Dose (kGy) | Abs. | thickness (mm) | Dose (kGy) | Abs. | thickness (mm) | Dose (kGy)
|  | Laser Micrometer Model: | Metralight MX2 |  | 1
|  | Laser Micrometer S/N: |  |  | 2
|  | Cal. Date: |  |  | 3
|  | Cal. Due Date: |  |  | 4
|  | Thermohygrometer Model: |  |  | 5
|  | Thermohygrometer ID or S/N: |  |  | 6
|  | Enviro. Relative Humidty (%): |  |  | 7
|  | Enviro. Temperature (°C): |  |  | 8
|  | Cal. Date: |  |  | 9
|  | Cal. Due Date: |  |  | 10
|  | DoseControl Version: |  |  | 11
|  | Device Name (PC Name): |  |  | 12
|  | Spectrophotometer Model: |  |  | 13
|  | Spectrophotometer S/N: |  |  | 14
|  | Cal. Date: |  |  | 15
|  | Cal. Due Date: |  |  | 16
| Acceptance Criteria |  |  |  | 17
AC-1 |  | PMMA Repeatability, Max. CV (%): | 2% |  | 18
19
| Comments: |  |  |  | 20
21
22
23
24
25
26
27
28
29
30
[5 empty] | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | SD: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | CV: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | AC-1 | Status: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Performed By: |  |  |  |  | Date:
| Reviewed By: |  |  |  |  | Date: